## Slide 1
Evaluation of visual acuity with multifocal catenary curve-based contact lens design in different degrees of astigmatism
Gonzalo Carracedo, PhD
Professor Faculty of Optics and Optometry
University Complutense of Madrid

## Slide 2
Chart: Y (mm)
| -3.2157515751575119 | -3.1077407740774037 | -2.9997299729972955 | -2.8917191719171873 | -2.7837083708370791 | -2.6756975697569709 | -2.5676867686768627 | -2.4596759675967546 | -2.3516651665166464 | -2.2436543654365382 | -2.13564356435643 | -2.0276327632763218 | -1.9196219621962138 | -1.8116111611161059 | -1.7036003600359979 | -1.5955895589558899 | -1.487578757875782 | -1.379567956795674 | -1.271557155715566 | -1.1635463546354581 | -1.0555355535553501 | -0.94752475247524215 | -0.83951395139513418 | -0.73150315031502622 | -0.62349234923491825 | -0.51548154815481029 | -0.40747074707470232 | -0.29945994599459436 | -0.19144914491448636 | -8.343834383437837E-2 | 2.4572457245729623E-2 | 0.13258325832583762 | 0.24059405940594561 | 0.3486048604860536 | 0.45661566156616162 | 0.56462646264626959 | 0.67263726372637755 | 0.78064806480648552 | 0.88865886588659349 | 0.99666966696670145 | 1.1046804680468094 | 1.2126912691269174 | 1.3207020702070253 | 1.4287128712871333 | 1.5367236723672413 | 1.6447344734473492 | 1.7527452745274572 | 1.8607560756075652 | 1.9687668766876731 | 2.0767776777677813 | 2.1847884788478895 | 2.2927992799279977 | 2.4008100810081059 | 2.5088208820882141 | 2.6168316831683223 | 2.7248424842484305
10001 Power Y-Slice | 6.366 | 6.0981 | 5.648 | 5.1011 | 4.5184 | 3.9414 | 3.3962 | 2.8974 | 2.4507 | 2.0559 | 1.7084 | 1.4014 | 1.1273 | 0.87802 | 0.64648 | 0.42668 | 0.21414 | 0.0060144 | -0.19895 | -0.40048 | -0.597 | -0.78589 | -0.96374 | -1.1267 | -1.2707 | -1.3918 | -1.4865 | -1.5518 | -1.5854 | -1.586 | -1.553 | -1.4869 | -1.3889 | -1.261 | -1.1056 | -0.92554 | -0.72383 | -0.50319 | -0.26599 | -0.01393 | 0.25217 | 0.53248 | 0.82829 | 1.1419 | 1.4766 | 1.8361 | 2.2242 | 2.6438 | 3.0963 | 3.5795 | 4.0866 | 4.6037 | 5.1072 | 5.5611 | 5.9127 | 6.0892
+8.00 D at 6mm diameter
Hartmann-Shack Aberrometer
Catenary Power Profile

## Slide 3: Depth of focus and astigmatism correction
Creating spherical aberration, it is possible to obtain multifocality
Spherical Aberrations with Different Signs provide better efficiency to increase
the Depth of focus

## Slide 4: Depth of focus and astigmatism correction
The astigmatic eye has two focal points
EDOF channel can correct astigmatism (both meridians can be in focus at the same time) [The same way it corrects presbyopia]
Approved for up to 2.00 DC
Toric optic
Two focal points

## Slide 5
    Principal investigator
    Gonzalo Carracedo, PhD
    Researcher
    Ana Privado, PhD

## Slide 6
Generate Scientific evidence and Clinical data to support
the NaturalVue Multifocal indication of astigmatism correction up to 2.00 DC
Main Objective

## Slide 7
Study design
01
02
03
2. VISITS
V1: enrollment; screening; order.
V2: Lens fitting and dispense.
V3: 1d follow up.
V4: 1w follow up; study exit.
1. GROUPS
Divided in:
LA: Low Astigmatism
Between -0.75 and -1.25D
MA: Medium Astigmatism
From -1.50 to -2.00D
HA: High Astigmatism
Between 2.25 and -3.00D
3. PARAMETERS
High contrast distance binocular visual acuity (HCDBVA).
Stereopsis.
Subjective vision quality.
Subjective overall comfort.

## Slide 8
Patients

## Slide 9
Lens parameters

## Slide 10
Binocular Distance Visual Acuity
W1 Binoc VA | (logMAR) | Avg±SD
-0.75 to -1.00 DC | n = 12 | -0.16 ± 0.06
20/20 or better | 100% | 
20/15 or better | 100% | 
-1.25 to -2.00 DC | n = 12 | -0.09 ± 0.08
20/20 or better | 100% | 
20/15 or better | 67% | 
-2.25 to -3.00 DC | n = 6 | -0.02 ± 0.06
20/20 or better | 83% | 
20/15 or better | 33% | 

## Slide 11
W1 Binoc VA | (logMAR) | Avg±SD
-0.75 to -1.00 DC | n = 12 | -0.16 ± 0.06
20/20 or better | 100% | 
20/15 or better | 100% | 
-1.25 to -2.00 DC | n = 12 | -0.09 ± 0.08
20/20 or better | 100% | 
20/15 or better | 67% | 
-2.25 to -3.00 DC | n = 6 | -0.02 ± 0.06
20/20 or better | 83% | 
20/15 or better | 33% | 
2.00 DC
100% 20/20
3.00 DC
83% 20/20
Binocular Distance Visual Acuity

## Slide 12
Stereopsis
Differences non-clinical relevant.
Stereopsis preserved.

## Slide 13
Visual Analogue Scale
Up to 49
More than 80
Between 50 and 79
Unsatisfactory
Satisfactory
Very satisfactory

## Slide 14
Subjective Vision Quality
High Vision Quality
in the 3 groups studied

## Slide 15
Subjective Overall Comfort
High Overall comfort
in the 3 groups studied

## Slide 16
Adverse Events
No adverse events found.

## Slide 17
Predictors of Visual Acuity
    Among the range of vision, mild association with
    Magnitude of cylinder

## Slide 18
Predictors of Visual Acuity
    Age (older folks, >30, less likely to gain VA compared with BCVA)

## Slide 19
Predictors of Visual Acuity
    No correlation with pupil diameter

## Slide 20
Summary
    The study demonstrated that NaturalVue® Enhanced Multifocal lenses effectively corrected (with 20/20 or better vision)
    77% rated their Overall Visual Quality as satisfactory or very satisfactory
    83% rated their Overall Comfort as satisfactory or very satisfactory
    Stereopsis preserved
    Works well with all pupil sizes
W1 Binoc VA | (logMAR) | Avg±SD
-0.75 to -1.00 DC | n = 12 | -0.16 ± 0.06
20/20 or better | 100% | 
20/15 or better | 100% | 
-1.25 to -2.00 DC | n = 12 | -0.09 ± 0.08
20/20 or better | 100% | 
20/15 or better | 67% | 
-2.25 to -3.00 DC | n = 6 | -0.02 ± 0.06
20/20 or better | 83% | 
20/15 or better | 33% | 

## Slide 21
Conclusions
The study found that, unlike traditional toric optics, NaturalVue Multifocal corrects an extensive range of astigmatism by enabling both meridians to focus simultaneously.
This clinical trial validated the NaturalVue Multifocal lens’s astigmatism correction indication. Multifocal catenary curve-based contact lenses are a viable option for patients with astigmatism, and can potentially reduce additional chair time needed for toric soft contact lens fitting.
The lenses provided good visual performance and satisfaction patient feedback in vision and comfort, with no reported adverse events.

## Slide 22
    jgcarrac@ucm.es